## Slide 1
Thesis:
Design and implementation of a warning system for approaching objects to the white cane of the blind
By:
Sepehr , Borzabadi Farahani
972151039
Supervisor:
Ghaznavi-Ghoushchi , Mohamnmad-Bagher , Ph.D.
Faculty of Engineering and Technology
Department of Electrical Engineering
Summer 2023

## Slide 2
Table of Contents
preface
Introduction
Proposed Method
Conclusion
References

## Slide 3
تشخیص سخت یک نابینا در شب
عدم تشخیص دقیق و به موقع موانع در جهت یابی
عدم تشخیص زود هنگام موانع
Failure to notify the user
Failure to recognize obstacles in other directions
Difficult to recognize a blind person at night
Improper detection of obstacles in directions
Failure to detect obstacles early
Problems of blind people in daily life:
Design and implementation of a warning system for approaching objects to the white cane of the blind
preface
Introduction
Proposed Method
Conclusion
References
1/12
Design and implementation of a warning system for approaching objects to the white cane of the blind

## Slide 4
Accurate detection of obstacles in a specific direction
Early detection of obstacles
Timely notification to the user
Detection of obstacles that are not in contact with the ground
Attracting the attention of a blind person at night
Goals specified in the project:
preface
Introduction
Proposed Method
Conclusion
References
2/12
Design and implementation of a warning system for approaching objects to the white cane of the blind

## Slide 5
Maintain the cane posture
Installation of equipment does not cause weakness
Maintain the weight of the cane
Physical requirements in the design of a smart cane:
proposed solution
We can design the smart cane in two parts.
Introduction
preface
Proposed Method
Conclusion
References
3/12
Design and implementation of a warning system for approaching objects to the white cane of the blind

## Slide 6
A sign to inform people at night
A special part for night vision to notify other people in the surrounding area
Introduction
preface
Proposed Method
Conclusion
References
4/12
Design and implementation of a warning system for approaching objects to the white cane of the blind

## Slide 7
Types of obstacle detection sensors
Laser
Infrared
Ultrasonic sensor
release
reflection
Thru-Beam
Introduction
preface
Proposed Method
Conclusion
References
5/12
Design and implementation of a warning system for approaching objects to the white cane of the blind

## Slide 8
The presence of a dead zone near the sensor
Failure to recognize small obstacles
Do not use in conditions that cause solid deposits in the sensor
Failure to recognize soft objects
Ultrasonic sensor
Advantages
Disadvantages
fast response
long life
Greater detection range than capacitive and inductive sensors
Correct performance in adverse conditions
Proposed Method
preface
Conclusion
References
Introduction
6/12
Design and implementation of a warning system for approaching objects to the white cane of the blind

## Slide 9
Ways to notify a blind person of an obstacle
Audio: Buzzer-speaker
Vibrating: vibration motor
Select the processor
Arduino Promini
esp32
stm32f103c8t6
Proposed Method
preface
Conclusion
References
Introduction
7/12
Design and implementation of a warning system for approaching objects to the white cane of the blind

## Slide 10
The practical part of the project
1- Setting up and testing each section:
Setting up esp32 board by arduino software
Setting up the ultrasonic sensor
Setting up and testing ldr resistance
Setting up and testing bluetooth
4- The software part of the project:
3- Assembly and placement of parts:
Soldering
Installation and placement of system parts
Installing the device box on the cane
2- Project programming section and equipment installation on the bread board:
software
hardware
Proposed Method
preface
Conclusion
References
Introduction
8/12
Design and implementation of a warning system for approaching objects to the white cane of the blind

## Slide 11
software
Night detection
Blink led at night
Obstacle detection and distance calculation
Change the beeping of the buzzer according to the distance
Send data via bluetooth to android phone in case of emergency
Demo when the device is turned on
Demo when connecting Bluetooth to phone
hardware
Ultrasonic sensor
ldr resistance
Buzzer
led
battery
esp32
Proposed Method
preface
Conclusion
References
Introduction
9/12
Design and implementation of a warning system for approaching objects to the white cane of the blind

## Slide 12
How the Android application works:
Proposed Method
preface
Conclusion
References
Introduction
10/12
Design and implementation of a warning system for approaching objects to the white cane of the blind

## Slide 13
Conclusion
Designing a smart cane for the blind to solve the following problems:
Poor communication
Covering a small area of the environment in obstacle detection
Failure to recognize and identify a blind person at night
Failure to recognize the distance between the obstacle and the cane
Failure to recognize obstacles that are not in contact with the ground
Different parts of the smart cane:
ESP32
Ultrasonic sensor for distance measurement
Bazar with different modes to inform about the upcoming obstacle
Light-sensitive resistance to detect dim and dark environments
Android application and notification by vibration and sound
Conclusion
preface
References
Introduction
Proposed Method
11/12
Design and implementation of a warning system for approaching objects to the white cane of the blind

## Slide 14
[1] L. Matthies, "Obstacle detection," Computer vision: A reference guide, pp. 1-9, 2020.
[2] F. A. Ghani and A. Zariman, "Smart cane based on IoT," International Journal of Education, Science, Technology, and Engineering, vol. 2, no. 1, pp. 12-18, 2019.
[3] Pawaskar, P.S., D. Chougule, and A. Mali, Smart cane for blind person assisted with android application and save our souls transmission. International Journal of Engineering and Management Research, 2018. 8(3): p. 235-240
[4] M. H. A. Wahab et al., "Smart cane: Assistive cane for visually-impaired people," arXiv preprint arXiv:1110.5156, 2011.
[5] Borenstein J . and U lrich I . T he GuideCane - Applying Mobile Robot Technologies to Assist the Visually Impaired, IEEE Transactions on Systems, Man, and Cybernetics, Part A: Systems and Humans, Vol. 31, No. 2, pp. 131-136, 2001
[6] [Online]. Available: https://irenx.ir/iot/esp-learn/esp32-board-with-arduino/#:~:text=%D9%85%D8%B1%D8%AD%D9%84%D9%87%201%3A%20%D8%A8%D8%B1%D8%AF%20ESP32%20%D8%AE%D9%88%D8%AF,%DA%A9%D8%AF%D8%A7%D9%85%20%D9%BE%D9%88%D8%B1%D8%AA%20%D9%88%D8%B5%D9%84%20%D8%B4%D8%AF%D9%87%20%D8%A7%D8%B3%D8%AA.
[7] [Online]. Available: https://fanamoozan.com/ldr-and-thermistor-rsistor/#:~:text=%D8%B7%D8%B1%D8%A7%D8%AD%DB%8C%20%D8%B4%D8%AF%D9%87%20%D8%A7%D9%86%D8%AF.-,%D9%86%D8%AD%D9%88%D9%87%20%D8%B9%D9%85%D9%84%DA%A9%D8%B1%D8%AF%20%D9%85%D9%82%D8%A7%D9%88%D9%85%D8%AA%20%D9%86%D9%88%D8%B1%DB%8C%20(LDR),%D8%A7%D9%81%D8%B2%D8%A7%DB%8C%D8%B4%20%D9%85%D9%82%D8%AF%D8%A7%D8%B1%20%D8%A7%D9%81%D8%B2%D8%A7%DB%8C%D8%B4%20%D9%85%DB%8C%20%D8%AF%D9%87%D8%AF.
preface
Introduction
Proposed Method
References
Conclusion
12/12
Design and implementation of a warning system for approaching objects to the white cane of the blind